## Slide 1
Arif Surtono, Prima Aprilliana, Amir Supriyanto, Gurum Ahmad Pauzi,
Junaidi, Sriwahyu Suciyati and Warsito
Measuring of Cassava Starch Content
by Using Strain Gauge Sensor
The 2nd International Conference on Applied Sciences Mathematics and Informatics August 9-11, 2018
Horison Hotel Bandar Lampung, Indonesia
Department of Physics, Faculty of Mathematic and Natural Sciences, University of Lampung

## Slide 2: INTRODUCTION
Cassava is food substitute for rice
Has an important role in supporting national food security
Most of the cassava for food material, industry and animal feed (Widianta & Dewi, 2008)
Lampung : No. 1 Cassava production in Indonesia (2015), 7 387 084 ton (BPS-Statistics Indonesia)
Cultivation cassava plants has impact for Lampung agroindustry and community economy.

## Slide 3: Introduction
Cassava tuber quality measured by starch and hydrogen cyanide (HCN) content (Cuvaca, et al, 2015)
Starch content is the most important parameter in assessment of cassava tube quality at the field.
Classical method for starch analysis : iodine-iodide (quality), gravity and redox titration (Tortajada, 2018)
Gravity method or Underwater Weight Method is the easiest method for implementation at the field
Until now, there is no instrument for starch content measurement electronically for use at the field
So…our research purpose is to design the instrument for Measuring of Cassava Starch Content by Using Strain Gauge Sensor

## Slide 4: Methods
Starch content (SC) (Sungzikaw, 2008)
Specific Gravity (SG)
Ma = Cassava Mass in the air (g) ;
Mw = Cassava Mass in the water (g) ;

## Slide 5: Methods
Input Unit
Strain gauge
Processsor Unit
Output Unit
LCD & Laptop

## Slide 6: Methods
HX711 as Analog to Digital Converter (ADC). The HX711 input pin is E + as power supply, E- as ground, A- and A + as sensor data input. The HX711 output pin is the GND pin as ground to Arduino, DT as digital output, SCK as digital input, and VCC as input voltage.

## Slide 7: Methods
Sensor – ADC – Arduino wiring

## Slide 8: Methods
Arduino - LCD wiring

## Slide 9: Methods

## Slide 10: Methods

## Slide 11: Methods
Physic construction
Jack
Water bucket
Basket
Strain-gauge
HX711
Arduino & LCD
Laptop

## Slide 12: Results
Instrument for cassava starch content measurement
Electronics
box
Basket
Water Bucket
Jack

## Slide 13: Results
Mass (kg) |  | Error (kg) | Error (%)
Reference | Instrument |  | 
0.000 | 0.000 | 0.000 | 0.000
0.050 | 0.050 | 0.000 | 0.000
0.100 | 0.100 | 0.000 | 0.000
0.200 | 0.200 | 0.000 | 0.000
0.500 | 0.493 | 0.007 | 1.400
0.600 | 0.598 | 0.002 | 0.333
0.700 | 0.694 | 0.006 | 0.857
0.800 | 0.788 | 0.012 | 1.500
0.900 | 0.890 | 0.010 | 1.111
1.000 | 0.985 | 0.015 | 1.500
1.050 | 1.036 | 0.014 | 1.333
1.200 | 1.185 | 0.015 | 1.250
1.500 | 1.483 | 0.017 | 1.133
1.700 | 1.679 | 0.021 | 1.235
1.750 | 1.727 | 0.023 | 1.314
2.000 | 1.976 | 0.024 | 1.200
2.200 | 2.169 | 0.031 | 1.409

## Slide 14: Results
No | Cassava type | SC instrument (%) | SC ref. (%) | Error (%)
1 | A | 16.3920 | 16.6122 | 1.3255
2 | B | 16.1480 | 16.3560 | 1.2717
3 | C | 14.8800 | 15.0875 | 1.3753
No | Cassava type | SC instrument (%) | SC ref. (%) | Error (%)
1 | A | 17.0310 | 17.2762 | 1.4194
2 | B | 6.5040 | 6.6035 | 1.5072
3 | C | 20.1610 | 20.4530 | 1.4277
1,0 Kg samples
2,2 Kg samples

## Slide 15: Conclusions
Strain-gauge sensor can be applied to cassava starch content measurement instrument using Arduino as processor.
The percentage of error produced by the instrument is less than 2%.

## Slide 16: Acknowledgments
We express our gratitude to the Unila Research and Community Service Institution (LPPM Unila) that has funded this research in the Penelitian Unggulan 2018 with the contract number 1453 / UN26.21 / PN / 2018

## Slide 17
Thanks You